## Sheet1
BCI # | M3 Part Number | Description | UOM | Dist Price
10850 | Q6500010850 | AANE-2% 55 GAL SYS | EA | 1260
10950 | Q6500010950 | AANE-5% 55 GAL SYS | EA | 1299
10910 | Q6500010910 | BVS AANE 5% 15 GAL SYS | EA | 896.71
10990 | Q6500010990 | AANE-BOOSTER PUMP KIT 110V | EA | 178.55
10995 | Q6500010995 | AANE-BOOSTER PUMP KIT 220V | EA | 193.79
11000 | Q6500011000 | AANE-VALVE ASSEMBLY | EA | 52.57
11010 | Q6500011010 | AANE-SPIGOT KIT | EA | 100
11020 | Q6500011020 | AANE-SECONDARY SAFETY FLOAT | EA | 61.64
11025 | Q6500011025 | AANE-PRIMARY FILL FLOAT/SHORT | EA | 65.94
11030 | Q6500011030 | AANE-FLOAT FILL ACTUATOR | EA | 29.8
11035 | Q6500011035 | AANE-FLOAT SAFETY ACTUATOR | EA | 29.63
11037 | Q6500011037 | AANE-FLOAT EXTENSION WIRE | EA | 18.07
11040 | Q6500011040 | AANE-ANTI SURGE SYSTEM | EA | 25.88
11042 | Q6500011042 | AANE-VENTURI COLUMN ASSEMBLY | EA | 69.44
11045 | Q6500011045 | AANE-VENTURI ASSEMBLY 2% | EA | 77.26
11046 | Q6500011046 | AANE-VENTURI ASSEMBLY 5% | EA | 109.04
11049 | Q6500011049 | AANE-INTAKE ASSEMBLY | EA | 82.45
11050 | Q6500011050 | AANE-ACID INTAKE HOSE ASSEMBLY | EA | 51.72
11051 | Q6500011051 | AANE-PROD INTAKE HOSE ASSEMBLY | EA | 51.72
11055 | Q6500011055 | AANE-15 GAL. SOLUTION WELL | EA | 33.15
11057 | Q6500011057 | AANE-55 GAL. SOLUTION WELL | EA | 39.6
11060 | Q6500011060 | AANE-HEAD ASSEMBLY | EA | 449.2
11070 | Q6500011070 | AANE-55 GALLON CONVERSION KIT | EA | 489.31
11075 | Q6500011075 | AANE-LID ASSEMBLY | EA | 168
11080 | Q6500011080 | AANE-WATER INLET ASSEMBLY | EA | 37.3
12610 | Q6500012610 | BVS EDIE STANDARD INJ SYS | EA | 3092.45
12640 | Q6500012640 | EDIE EXTERNAL BEACON KIT | EA | 183.4
12701 | Q6500012701 | EDIE, OLAS, OLAS Ti stand (30" wide) | EA | 500
12702 | Q6500012702 | Titan II stand (46" wide) | EA | 520
12703 | Q6500012703 | Titan III (62" wide) | EA | 540
16725 | Q6500016725 | PUMP/FLOWMETER SWITCH CONTROL BOX | EA | 165
16726 | Q6500016726 | PUMP/FLOWMETER DUAL CONTROL BOX | EA | 204
16752 | Q6500016752 | EDIE FLOWMETER DUAL CONTROL BOX | EA | 204
16755 | Q6500016755 | EDIE LOW FLOW PULSE CONVERSION BOX | EA | 204
16800 | Q6500016800 | PUMP SWITCH CONTROL BOX | EA | 165
16912 | Q6500016912 | EDIE INJECTION VALVE | EA | 65
16925 | Q6500016925 | EDIE INJECTION QUILL | EA | 12.65
19500 | Q6500019500 | TITAN II | EA | 10753.31
19550 | Q6500019550 | TITAN III | EA | 13872.3
R700015 | Q650R700015 | 30 PSI PRESSURE REGULATOR | EA | 7.98
R700045 | Q650R700045 | 1/8" ACID FOOT VALVE | EA | 15.4
R700046 | Q650R700046 | 1/8" PRODUCT FOOT VALVE | EA | 15.4
R700048 | Q650R700048 | 3/16" PRODUCT FOOT VALVE | EA | 15.4
R700050 | Q650R700050 | 1/4" ACID FOOT VALVE | EA | 15.4
R700051 | Q650R700051 | 1/4" PRODUCT FOOT VALVE | EA | 15.4
R700052 | Q650R700052 | 1/4" NPT ACID FOOT VALVE | EA | 15.4
R700053 | Q650R700053 | 1/4" NPT PRODUCT FOOT VALVE | EA | 15.4
R700055 | Q650R700055 | 1/4" ACID CHECK VALVE | EA | 15.4
R700056 | Q650R700056 | 1/4" PRODUCT CHECK VALVE | EA | 15.4
R700160 | Q650R700160 | CERAMIC WEIGHT - 509900 | EA | 7.15
R700165 | Q650R700165 | KYNAR WEIGHT | EA | 9.87
R700430 | Q650R700430 | 30 PSI PRESSURE REGULATOR PIPE X HSE | EA | 7.98
R701000 | Q650R701000 | FLTR HOUS'G MOUNT'G BRCKT KIT | EA | 19.32
R701007 | Q650R701007 | 10" CLR FILTR HOUSING 3/4"NPT | EA | 49.17
R701150 | Q650R701150 | 2.5"X9.875" 50 MCRN POLY STRNG | EA | 7.7
R705005 | Q650R705005 | Square Channel 1 5/8" X 1 5/8" | FT | 5.5
R705051 | Q650R705051 | Equipment Stand Left Side | FT | 250
R705052 | Q650R705052 | Equipment Stand Right Side | FT | 250
R705070 | Q650R705070 | 15 Gal. AANE TANK STAND | EA | 191.5
R705100 | Q650R705100 | PORT KIT (2) PORT X 3/8" OD-JG | EA | 11.02
R705110 | Q650R705110 | TPX HF BOOSTER PUMP 115V | EA | 175
R705230 | Q650R705230 | TPX HF BOOSTER PUMP 230V | EA | 198
R707007 | Q650R707007 | ULTRASNIC FLOWMETER 0.5"-0.75" | EA | 432.89
R707012 | Q650R707012 | ULTRASNIC FLOWMETER 1"-1.25" | EA | 460.84
R707020 | Q650R707020 | ULTRASNIC FLOWMETER 1.5"-2" | EA | 496.28
R707022 | Q650R707022 | ULTRASNIC FLWMTR 1.5"-2"/10PPG FD-R | EA | 1031.25
R707030 | Q650R707030 | ULTRASNIC FLOWMETER 2.5"-3" FD-R | EA | 1562.5
R707040 | Q650R707040 | ULTRASNIC FLOWMETER 4"-5" FD-R | EA | 1968.75
R707060 | Q650R707060 | ULTRASNIC FLOWMETER 6"-8" FD-R | EA | 3250
R708014 | Q650R708014 | ULTRASNIC LEVEL SENSOR 49" RNG | EA | 439.47
R708024 | Q650R708024 | ULTRASNIC LEVEL SENSOR 9'8" RNG | EA | 546.67
R710000 | Q650R710000 | FOOT VALVE 0.170X1/4 PE GF | EA | 84.4
R710003 | Q650R710003 | FOOT VALVE 1/4 X3/8 PE GF | EA | 84.4
R710005 | Q650R710005 | FOOT VALVE 3/8 X1/2 PE GF | EA | 84.4
R710010 | Q650R710010 | FOOT VALVE 0.170X1/4 PVDF GF | EA | 97.14
R710013 | Q650R710013 | FOOT VALVE 3/8 X1/2 PVDF GF | EA | 97.14
R710010 | Q650R710010 | FOOT VALVE 0.170X1/4 PVDF GF | EA | 97.14
R710100 | Q650R710100 | INJ VALVE 0.170X1/4 X1/2NPT PVC GF | EA | 84.4
R710103 | Q650R710103 | INJ VALVE 1/4 X3/8 X1/2 NPT PVC GF | EA | 84.4
R710105 | Q650R710105 | INJ VALVE 3/8 X1/2 X1/2NPT PVC GF | EA | 84.4
R710110 | Q650R710110 | INJ VALVE 0.170X1/4 X1/2NPT PVDF GF | EA | 97.14
R710113 | Q650R710113 | INJ VALVE 1/4 X3/8 X1/2 NPT PVDF GF | EA | 97.14
R710115 | Q650R710115 | INJ VALVE 3/8 X1/2 X1/2NPT PVDF GF | EA | 97.14
R720008 | Q650R720008 | DUAL LEVEL SENSOR M12 | EA | 163.59
R750110 | Q650R750110 | DDE 6-10 1.5GPH 150 psi PVC | EA | 543
R750120 | Q650R750120 | DDE 15-4 4.0GPH 60psi max PVC | EA | 671.25
R750210 | Q650R750210 | DDA 7.5-16 2.0GPH 232 psi PVC | EA | 1032.55
R750215 | Q650R750215 | DDA 7.5-16 2.0GPH 232 psi PVDF | EA | 1240.81
R750220 | Q650R750220 | DDA 12-10 3.17GPH 150 psi PVC | EA | 1240.58
R750225 | Q650R750225 | DDA 12-10 3.17GPH 150 psi PVDF | EA | 1309.9
R750230 | Q650R750230 | DDA 17-7 4.5GPH 100 psi PVC | EA | 1253.4
R750235 | Q650R750235 | DDA 17-7 4.5GPH 100 psi PVDF | EA | 1322.71
R750240 | Q650R750240 | DDA 30-4 8.0GPH 60 psi PVC | EA | 1457.96
R750245 | Q650R750245 | DDA 30-4 8.0GPH 60 psi PVDF | EA | 1495.27
R760110 | Q650R760110 | SERV KIT DDA7.5-16, DDE6-10 PVC 97751479 | EA | 247.5
R760120 | Q650R760120 | SERV KIT DDA12-10,17-7,DDE15-4 PVC 97751497 | EA | 322.5
R760130 | Q650R760130 | SERV KIT DDA 30-4 PVC 97751515 | EA | 396
R760215 | Q650R760215 | SERV KIT DDA 7.5-16 PVDF 97751539 | EA | 465
R760225 | Q650R760225 | SERV KIT DDA12-10,17-7 PVDF 97751557 | EA | 506.25
R760245 | Q650R760245 | SERV KIT DDA 30-4 PUMP PVDF 97751575 | EA | 675
R761010 | Q650R761010 | DN8 PUMP CONN(.170) 1/8X1/4PVC | EA | 29.5
R761013 | Q650R761013 | DN8 PUMP CONN 1/4X3/8 PVC | EA | 29.5
R761015 | Q650R761015 | DN8 PUMP CONN 3/8X1/2 PVC | EA | 29.5
R761110 | Q650R761110 | DN8 PUMP CONN(.170)1/8X1/4PVDF | EA | 36.88
R761113 | Q650R761113 | DN8 PUMP CONN 1/4X3/8 PVDF | EA | 36.88
R761115 | Q650R761115 | DN8 PUMP CONN 3/8X1/2 PVDF | EA | 36.88
R800000 | Q650R800000 | 15 GAL POLY TANK | EA | 100
R800010 | Q650R800010 | 15 GAL POLY TANK LID | EA | 30
R800064 | Q650R800064 | VENTURI DUAL 2% | EA | 61.72
R800068 | Q650R800068 | TIP HOLDERS | EA | 5.68
R800090 | Q650R800090 | METERING ORIFICES (20PK) | EA | 11.56
R800270 | Q650R800270 | 55 GAL POLY TANK | EA | 208.33
R800280 | Q650R800280 | 55 GAL POLY TANK LID | EA | 40
R800300 | Q650R800300 | 9 GAL POLY SQUARE TANK | EA | 130
R800540 | Q650R800540 | 4" INSPECTION PLATE, BLK/CLEAR | EA | 20.5
R801525 | Q650R801525 | TWIN VENTURI LOW | EA | 93.5
R802010 | Q650R802010 | TWIN VENTURI | EA | 93.5
R802020 | Q650R802020 | TWIN VENTURI | EA | 93.5
R802510 | Q650R802510 | TWIN VENTURI STANDARD 5% | EA | 93.5
R820024 | Q650R820024 | POWER ADAPTER 24V DC | EA | 22.2
R820044 | Q650R820044 | 24V PANEL FEM. SOCKET | EA | 3.6
R820214 | Q650R820214 | 14 AWG POWER CORD | EA | 23
R820320 | Q650R820320 | M12 CABLE 10m PATCH | EA | 44.28
R820400 | Q650R820400 | M12 CABLE 9.8FT B-Code LEADS | EA | 31.22
R820410 | Q650R820410 | M12 CABLE 9.8FT PATCH | EA | 25.88
R820420 | Q650R820420 | M12 CABLE 22FT LEADS | EA | 38.28
R820650 | Q650R820650 | 24V BEACON RED | EA | 39.94
R820663 | Q650R820663 | 24V 3-LIGHT BEACON W/M12 | EA | 99.34
R820710 | Q650R820710 | PANEL LED | EA | 5
R820802 | Q650R820802 | 2 WIRE SPLICE CONNECTOR YELLOW | EA | 0.32
R820803 | Q650R820803 | 3 WIRE SPLICE CONNECTOR RED | EA | 0.38
R830300 | Q650R830300 | WIRE COMPRESSION FITTINGS-SM | EA | 1.1
R830305 | Q650R830305 | WIRE COMPRESSION FITTINGS-MED | EA | 1.25
R830402 | Q650R830402 | 3.875X2.625X1.875 ELEC BX, GRY | EA | 12
R830404 | Q650R830404 | 3.875X2.625X1.875 ELEC BX, BLK | EA | 12
R830406 | Q650R830406 | 4.5X3X2.5 ELECTRICA BOX, GRY | EA | 14.5
R830414 | Q650R830414 | 4.53x3.54x2.17 ELECTRCL BX,BLK | EA | 14.5
R830502 | Q650R830502 | 2 POSITION SWITCH | EA | 17.5
R830521 | Q650R830521 | NC CONTACT RED | EA | 6.75
R832100 | Q650R832100 | 24V RELAY BOARD | EA | 14.08
R832102 | Q650R832102 | 24V DUAL RELAY BOARD | EA | 26.75
R832200 | Q650R832200 | 24V 3A POWER SUPPLY BOARD | EA | 17
R840040 | Q650R840040 | 4" RND PLASTIC LOUVER, BLK | EA | 4.8
R840060 | Q650R840060 | 6" RND PLASTIC LOUVER, BLK | EA | 7.8
R840110 | Q650R840110 | DOSING CONTROL PLC PANEL | EA | 2500
R860000 | Q650R860000 | 3/8" PVC ACTUATOR GUIDE BRACKT | EA | 10.28
R860010 | Q650R860010 | 3/8" PVC REGULATOR PLATE | EA | 14.74
R860020 | Q650R860020 | 3/8" PVC SUPPORT PLATE | EA | 9.7
R860130 | Q650R860130 | 1/4 DISC BULKHEAD (TxT) SCH80 | EA | 15.68
R860143 | Q650R860143 | 3/8 X 1/4 DISC BULKHEAD (TxT) | EA | 15.74
R860302 | Q650R860302 | 1/2 NPT (PLUS SOC QUILL) X 1/4 | EA | 15.3
R860305 | Q650R860305 | 1/2 NPT (PLUS SOC QUILL) X 1/2 | EA | 12.88
R861730 | Q650R861730 | 3/8" 17x27 OFFSET POLY BOARD | EA | 72
R861731 | Q650R861731 | 3/8" 17x27 OFFSET POLY BRD BVS | EA | 72
R862737 | Q650R862737 | 3/8" 37X27 POLY BACKER BOARD | EA | 116.13
R863737 | Q650R863737 | 3/8" 37x37 POLY BOARD | EA | 146.67
R881727 | Q650R881727 | 3/8" 17x27 POLY BOARD | EA | 76
R881737 | Q650R881737 | 3/4" 17x37 POLY BOARD | EA | 122.04
R900127 | Q650R900127 | FEET 1/8"X1/16" FEP TEFLON TB | FT | 1.83
R900129 | Q650R900129 | CONCORD TEFLON BUSHING | EA | 2.19
R900146 | Q650R900146 | HOSE STRAINER TEE | EA | 11.8
R900147 | Q650R900147 | 3/4" MALE GARDEN HSE X 1/4 | EA | 3.78
R900154 | Q650R900154 | EXTREN FG CHANNEL | EA | 36.72
R900163 | Q650R900163 | EXTREN FG ANGLE | EA | 20.84
R900607 | Q650R900607 | 1/4" MNPT BALL VALVE PVC | EA | 10.39
R900608 | Q650R900608 | 1/4 ANGLE BALL VALVE (TXT) | EA | 10.39
R900616 | Q650R900616 | 1/2x3/8 ANGLE BALL VALVE (TXT) | EA | 12.75
R900620 | Q650R900620 | 3/8 ANGLE BALL VALVE(TUBEXMT) | EA | 12.75
R900665 | Q650R900665 | VALVE ASSBLY-MAGNET HOUSING | EA | 5.29
R900670 | Q650R900670 | VALVE ASSBLY-MAGNET HOLDER | EA | 2.58
R900675 | Q650R900675 | VALVE ASSBLY-EXTERNAL SPRING | EA | 3.22
R900680 | Q650R900680 | VALVE ASSBLY-FLOAT HANGER WIRE | EA | 6.78
R900685 | Q650R900685 | VALVE ASSBLY-VALVE BODY | EA | 8.44
R900690 | Q650R900690 | VALVE ASSBLY-INTERNAL SPRING | EA | 0.66
R900695 | Q650R900695 | VALVE ASSBLY-ENCLOSING TUBE | EA | 2.7
R900700 | Q650R900700 | VALVE ASSBLY-DIAPHRAGM | EA | 3.51
R900705 | Q650R900705 | VALVE ASSBLY-MAGNET | EA | 8.28
R900710 | Q650R900710 | VALVE ASSBLY-SPACER | EA | 0.81
R900715 | Q650R900715 | VALVE ASSBLY-PLUNGER | EA | 3.96
R900720 | Q650R900720 | VALVE ASSBLY-FLANGE | EA | 6.79
R900740 | Q650R900740 | .063" CP TITANIUM WELD. ROD | FT | 1.23
R901000 | Q650R901000 | POLYPRO FLOAT LEVEL SWITCH | EA | 26.5
R901055 | Q650R901055 | 1/2x3/8 STEM ADPT(STEMxMT)W | EA | 5.23
R901070 | Q650R901070 | 1/4x1/4 PLUG IN ELL(TUBxSTEM)W | EA | 3.06
R910002 | Q650R910002 | 1/4x3/8 MALE NPT CON(TBxMT)B | EA | 2.79
R910003 | Q650R910003 | 5/16x1/4 MALE NPT CON(TBxMT)B | EA | 2.4
R910005 | Q650R910005 | 3/8 X1/4 MALE NPT CON(TUBXMT)B | EA | 3.42
R910006 | Q650R910006 | 3/8x3/8 MALE NPT CON(TBxMT)B | EA | 3.87
R910007 | Q650R910007 | 3/8x1/2 MALE NPT CON(TBxMT)B | EA | 5.85
R910024 | Q650R910024 | 5/16x1/4 ELL(TBxMT)B | EA | 4.05
R910025 | Q650R910025 | 3/8x1/4 ELL(TUBxMT)B | EA | 4.5
R910026 | Q650R910026 | 3/8x3/8 ELL(TBxMT)B | EA | 4.45
R910041 | Q650R910041 | 1/4x3/8 STEM RED(TBxSTEM)B | EA | 3.3
R910042 | Q650R910042 | 5/16x3/8 STEM RED(TBxSTEM)B | EA | 3.39
R910061 | Q650R910061 | 3/8x1/4 STEM TO BARB-B | EA | 4.5
R910062 | Q650R910062 | 3/8x3/8 STEM TO BARB-B | EA | 2.74
R910073 | Q650R910073 | 3/8x3/8 PLUG-IN ELL(TBxSTEM)B | EA | 5.24
R910102 | Q650R910102 | 1/4 NPT HEX NIPPLE KYNAR | EA | 3.8
R910301 | Q650R910301 | 3/8x3/4 FEM GARDEN CONN(TBxHS) | EA | 7.05
R910350 | Q650R910350 | 1/4" PLUG (T) PVDF | EA | 11.4
R910407 | Q650R910407 | 3/4 INSERT ELBOW (BARBxMT)PVC | EA | 5.14
R912001 | Q650R912001 | 1/4X1/4 NPT MALE CON(TUBxMT) KYNAR | EA | 5.52
R912003 | Q650R912003 | 3/8 X 1/4 NPT MALE CON(TUBxMT) KYNAR | EA | 5.34
R912022 | Q650R912022 | 1/4 X 1/4 ELBOW (TBxMT) KYNAR | EA | 4.8
S10360 | Q6500S10360 | 1 X 1/4 TEFLON WASHER (.125) | EA | 1.7
S10374 | Q6500S10374 | 4mm x 6mm PVC TUBING (GRUNDFOS DEAREATION TUBING) | FT | 0.57
S10380 | Q6500S10380 | 1/8 X 1/4 CLEAR PVC TUBING | FT | 0.57
S10381 | Q6500S10381 | 3/16 X 5/16 CLEAR PVC TUBING | FT | 0.69
S10382 | Q6500S10382 | 1/4 X 3/8 PVC TUBING | FT | 0.81
S10383 | Q6500S10383 | 1/4 X 7/16 CLEAR PVC TUBING | FT | 1.15
S10384 | Q6500S10384 | 3/8 X 1/2 CLEAR PVC TUBING | FT | 1.45
S10385 | Q6500S10385 | 1/4 X 3/8" KYNAR TUBING | FT | 3.86
S10386 | Q6500S10386 | 1/8 x 1/4 TEFLON TUBING | FT | 3.63
S10387 | Q6500S10387 | 1/8 X 1/4 KYNAR TUBING | FT | 3.28
S10389 | Q6500S10389 | 3/8 X 1/2" KYNAR TUBING | FT | 6.83
S10411 | Q6500S10411 | 5/16" POLYETHYLENE TUBING BLK | FT | 0.42
S10421 | Q6500S10421 | 3/8 POLY TUBE BLACK | FT | 0.69
S11005 | Q6500S11005 | 3/4x1/2 HOSE ADPT(HSExT)BRASS | EA | 10
S11017 | Q6500S11017 | 3/4x3/4 HOSE X HOSE ADPT- POLY | EA | 7.08
S11050 | Q6500S11050 | 6' BURST FREE HOSE (FHTXFHT) | EA | 17.9
S13100 | Q6500S13100 | 0-100PSI PRESS GAUGE 1/4" BACK | EA | 23.5
S20324 | Q6500S20324 | #8x1/2 SCREW SS | EA | 0.33
S20336 | Q6500S20336 | #8x3/4 SCREW SS | EA | 0.42
S20344 | Q6500S20344 | #8x1 SCREW SS | EA | 0.63
S20536 | Q6500S20536 | #12X3/4 SCREW SS | EA | 0.96
S20928 | Q6500S20928 | #8 WASHER SS | EA | 0.12
S20936 | Q6500S20936 | #10 WASHER SS | EA | 0.18
S20943 | Q6500S20943 | #10 x1 WASHER SS | EA | 0.36
S20956 | Q6500S20956 | 5/16-18 WASHER SS | EA | 0.54
S21128 | Q6500S21128 | #8 LOCK WASHER SS | EA | 0.18
S21136 | Q6500S21136 | #10 LOCK WASHER SS | EA | 0.18
S21156 | Q6500S21156 | 5/16 LOCK WASHER SS | EA | 0.18
S21220 | Q6500S21220 | 6-32 HEX NUT SS | EA | 1.35
S21228 | Q6500S21228 | 8-32 HEX NUT SS | EA | 0.39
S21240 | Q6500S21240 | 10-32 HEX NUT SS | EA | 0.42
S21256 | Q6500S21256 | 5/16-18x1 HEX NUT SS | EA | 0.48
S22425 | Q6500S22425 | 6-32x1/2 SOCKET CAP SCREW SS | EA | 0.48
S22633 | Q6500S22633 | 8-32x5/8 SOCKET CAP SCREW SS | EA | 0.99
S22937 | Q6500S22937 | 10-32x3/4 SOCKET CAP SCREW SS | EA | 0.54
S22945 | Q6500S22945 | 10-32x1 SOCKET CAP SCREW SS | EA | 0.72
S22947 | Q6500S22947 | 10-32 THREADED INSERTS | EA | 0.72
S22957 | Q6500S22957 | 10-32x1 1/ 2 SOCKETCAPSCREW SS | EA | 0.66
S23346 | Q6500S23346 | 5/16-18x1 HEX CAP SCREW SS | EA | 0.99
S91175 | Q6500S91175 | 3/8-16 HEX NUT (PVC) | EA | 1.65
S91176 | Q6500S91176 | 3/8 WASHER (PVC) | EA | 1.05
S91364 | Q6500S91364 | 3/8-16 X 2 HEX HEAD BOLT (PVC) | EA | 4.7
T100002 | Q650T100002 | SINGLE INJECTION PUMP - LR | EA | 1363.46
T100012 | Q650T100012 | DUAL INJECTION PUMP - LR | EA | 1502.29
T100013 | Q650T100013 | DUAL INJECTION PUMP - MR | EA | 1502.29
T100014 | Q650T100014 | DUAL INJECTION PUMP - HR | EA | 1502.29
T100016 | Q650T100016 | OLAS TI PUMP - LR | EA | 1798.59
T100017 | Q650T100017 | OLAS TI PUMP - MR | EA | 1798.59
T100020 | Q650T100020 | OLAS TI PUMP - HR | EA | 1798.59
T100100 | Q650T100100 | 1/4" CHECK VALVE NIPPLE KYNAR | EA | 12.22
T100105 | Q650T100105 | 1/2" CHECK VALVE NIPPLE KYNAR | EA | 15.03
T100150 | Q650T100150 | 3/4" CHECK VALVE (TXT) SCH 40 | EA | 12
T100201 | Q650T100201 | 1/4" BACK PRESSURE VALVE 50psi | EA | 113.5
T100202 | Q650T100202 | 1/4" ANTISYPHON/BK PRESS VLV 50psi | EA | 113.5
T100205 | Q650T100205 | 1/2" BACK PRESSURE VALVE 50psi | EA | 161
T100212 | Q650T100212 | 1/4" BACK PRESSURE VALVE150psI | EA | 124.16
T101120 | Q650T101120 | 1/4 X 1/4 FEM CONN KYNAR | EA | 5.64
T101123 | Q650T101123 | 1/2 NPT X 3/8 KYNAR FEM. CONN | EA | 6.14
T101125 | Q650T101125 | 1/2 NPT X 1/2 KYNAR FEM. CONN | EA | 6.64
T101210 | Q650T101210 | 1/8 X 1/8-27NPT HOSE BRB KYNR | EA | 1.53
T102035 | Q650T102035 | 35 PSI PRESSURE REGULATOR | EA | 11.89
T103900 | Q650T103900 | 5 GAL FLOW CONTROLLER | EA | 7.39
T104100 | Q650T104100 | .50 GAL FLOW CONTROLLER | EA | 4.62
T439101 | Q650T439101 | 3/4 X 1/2 RED BUSH(TXT)SCH40 | EA | 1.53
T447030 | Q650T447030 | 3" CAP (S) SCH40 | EA | 10.5
T498007 | Q650T498007 | 3/4 UNION (T) SCH40 | EA | 40
T499007 | Q650T499007 | 3/4" UNION (SXT) SCH, 40 | EA | 46.5
T500002 | Q650T500002 | 1/4" BALL VALVE SCH80 | EA | 39.4
T500005 | Q650T500005 | 1/2" BALL VALVE SCH80 | EA | 39.4
T805002 | Q650T805002 | 1/4 TEE (TXTXT) SCH80 | EA | 7.36
T808002 | Q650T808002 | 1/4 ELBOW (T) SCH80 | EA | 7.02
T812002 | Q650T812002 | 1/4 STREETELL (MTXT) SCH80 | EA | 10.74
T839099 | Q650T839099 | 3/4x3/8 RED BUSH(MTXT) SCH80 | EA | 5.62
T839248 | Q650T839248 | 2X3/4 RED. BUSHING(MTXT)SR | EA | 28.47
T859005 | Q650T859005 | 1/2 UNION (SxT) SCH.80 SR | EA | 17.98
T861020 | Q650T861020 | 2" SPG MALE ADPT(SPGXT) SCH80 | EA | 20.58
T880005 | Q650T880005 | 1/4 X CLOSE NIPPLE SCH80 | EA | 2.64
T880015 | Q650T880015 | 1/4xSH PVC NIPPLE SCH80 | EA | 2.67
T880020 | Q650T880020 | 1/4 X 2 NIPPLE SCH80 | EA | 2.76
T880030 | Q650T880030 | 1/4 X 3 NIPPLE SCH80 | EA | 4.35
T880040 | Q650T880040 | 1/4 X 4 NIPPLE SCH80 | EA | 5.08
T881005 | Q650T881005 | 3/8 X CL NIPPLE SCH80 | EA | 3.9
T881015 | Q650T881015 | 3/8 X SHRT NIPPLE SCH80 | EA | 2.76
T882005 | Q650T882005 | PVC NIPPLE 1/2" CLOSE SCH80 | EA | 2.4
T882015 | Q650T882015 | 1/2 X SHRT NIPPLE | EA | 1.59
T882020 | Q650T882020 | 1/2 X 2" NIPPLE SCH80 | EA | 2.07
T883005 | Q650T883005 | 3/4 X CL NIPPLE SCH80 | EA | 1.86
T945000 | Q650T945000 | ZIP CLAMP | EA | 0.66
T945007 | Q650T945007 | 3/4" PIPE CLAMP | EA | 3.02
T945010 | Q650T945010 | 1" PIPE CLAMP | EA | 5.04
T945020 | Q650T945020 | 2" PIPE CLAMP | EA | 10.21
T945030 | Q650T945030 | 3" PIPE CLAMP | EA | 15.16
T998001 | Q650T998001 | KEY LOCK CYLINDER | EA | 35.02
T998005 | Q650T998005 | SWITCH PLATE (SYSTEM STATUS) | EA | 4
T999000 | Q650T999000 | 30X20 EQUIPMENT CABINET (OLAS) | EA | 675
T999010 | Q650T999010 | 40X20 EQUIPMENT CABINET | EA | 915
T999015 | Q650T999015 | 40X30 EQUIPMENT CABINET | EA | 1250
T999050 | Q650T999050 | 30X20 PLC ENCLOSURE, STD HNDL | EA | 775
T999055 | Q650T999055 | 30X20 PLC ENCLOSURE, MOD HNDL | EA | 775
T999220 | Q650T999220 | 10 X 8 EQUIPMENT CABINET | EA | 170